UOJZ.S624 - Control Units, System

UL Online Certifications DirectoryOCD Home Quick Guide Contact Us UL.com

UOJZ.S624

Control Units, System

Page Bottom

Control Units, System

See General Information for Control Units, System

FIRE-LITE ALARMSS624

1 FIRE-LITE PL

NORTHFORD, CT 06472 USA

Model

TypeType

ServiceType

Signaling

Digital alarm communicator transmitter kit

Noti-fire 911AC (i)CS (PPU), RS (PPU)A, M, SS, WFDAC

411YDACCS (PPU), RS (PPU)A, M, SS, WFDAC, OT

AMS-9200(c), AMS-9200E (c), MS-9200UD (c), MS-9200UDE (c), MS9200UDLSE

(1)(c), MS-9600E (c), MS-9200 (c), MS-9200E (c)

LA, M, SS, WFMarch, NC

AUXA, M, WFNC

RS (PPU)A, M, SS, WFC, Rev Pol

RS (PPU)A, M, SS, WFDAC

P (PPU)A, M, SS, WFC

CS (PPU)A, M, SS, WFDAC

C10AUX, LS, RSA, M, WFNC

C106, C10-24AUX, L, LS, RSA, M, WFNC

MP-12, MP-12E, MP-24, MP-24EL, RS (PPU)A, M, WFNC

MP4824CS (PPU), LA, M, SS, WFDAC, NC

MRP-2001 (h), MRP-2001E (h), MRP-2002 (h), MRP-2002E (h)LA, M, SS,

WFMarch, NC

AUXA, M, WFNC

RS (PPU)A, M, SS, WFDAC, NC, Rev Pol

P (PPU)A, M, SS, WFC, DAC

CS (PPU)A, M, SS, WFDAC

MS-2 (d), MS-2E (d)LA, M, SS, WFMarch, NC

AUXA, M, WFNC

P (PPU)A, M, SS, WFC

CS (PPU)A, M, SS, WF-

MS-2410B, MS-2410BELA, M, SS, WFNC

AUXA, M, WFNC

RS (PPU)A, M, SS, WFDAC

RS (PPU)A, M, SS, WFRev Pol

MS-4 (e), MS-4E (e)LA, M, SS, WFMarch, NC

AUXA, M, WFNC

RS (PPU)A, M, SS, WFC, Rev Pol

P (PPU)A, M, SS, WFC

CS (PPU)A, M, SS, WFDAC

MS-4412B (b)LA, M, SS, WFNC

AUXA, M, WFNC

RS (PPU)A, M, SS, WFC, Rev Pol

RS (PPU)A, M, WFDAC

P (PPU)A, M, WFNC

CS (PPU)A, M, WFDAC

MS-5012CS, RS (PPU)A, M, SS, WFDAC

LA, M, SS, WFNC

MS-5024, MS-5024UD, MS-5024UDELA, M, SS, WFMarch, NC

CS (PPU), RSA, M, SS, WFDAC

MS-5024ECS (PPU), RSA, M, SS, WFDAC

MS-5210UD, MS-5210UDELA, M, SS, WFMarch, NC

CS (PPU), RSA, M, SS, WFDAC

MS-5UD-3 (1)(g), MS-5UD-3E (1)(g), MS-5UD-7 (1)(g), MS-5UD-7C (1)(g),

MS-5UD-7E (1)(g), MS-10UD-3 (1)(g), MS-10UD-3E (1)(g), MS10UD-7 (1)(g),

MS-10UD-7C (1)(g), MS-10UD-7E (1)(g)

LA, M, SS, WFMarch, NC

AUXA, M, WFNC

RS (PPU)A, M, SS, WFDAC, NC, OT, Rev Pol

P (PPU)A, M, SS, WFC, DAC, OT

CS (PPU)A, M, SS, WFDAC, OT

MS-9050UD (f), MS-9050UDE (f)LA, M, SS, WFC, March, NC

AUXA, M, WFNC

RS (PPU)A, M, SS, WFDAC, NC, OT, Rev Pol

P (PPU)A, M, SS, WFC, DAC, OT

CS (PPU)A, M, SS, WFDAC, OT

MS-9600 (c), MS-9200UDLS (1)(c)LA, M, SS, WFMarch, NC

AUXA, M, WFNC

RS (PPU)A, M, SS, WFC, Rev Pol

RS (PPU)A, M, SS, WFDAC, OT

P (PPU)A, M, SS, WFC, OT

CS (PPU)A, M, SS, WFDAC, OT

MS4812CS (PPU), LA, M, SS, WFDAC, NC

Noti-fire 911CCS (PPU), RS (PPU)A, M, SS, WFDAC

Sensiscan 1000LA, M, SS, WFC, NC

Sensiscan 200LA, M, SS, WFMarch, NC

AUXA, M, WFNC

RS (PPU)A, M, WFNC

P (PPU)A, M, WFNC

CS (PPU)A, M, WFNC

Sensiscan 2000 (a), Sensiscan 2000E (a)AUX, CS, RS (PPU)A, M, WFNC

P (PPU)A, M, WFNC

LA, M, SS, WFC, March, NC

CS (PPU)A, M, WFDAC

CS, RS (PPU)A, M, SS, WFDAC

IP digital alarm communicators, Intended for use with compatible control units

as described in the control unit installation manual., Model(s) IPDACT(3),

IPDACT-2 (3), IPDACT-2UD (3)

Sub-assemblies, Model(s) DACT-UD

Subassemblies, Intended for use with compatible control units as described in

the control unit installation manual., Model(s) CAC-4X class A conversion ,

CAC-5X (1) class A conversion, ELPS-3 (1) power supply, ELPS-7 (1) power supply

CS (PPU) - Central Station System Type (Protected Premises Unit)

RS (PPU) - Remote Station System Type (Protected Premises Unit)

A - Automatic fire alarm: Thermostats, smoke detectors, etc.

M - Manual fire alarm: Manually-operated boxes

SS - Sprinkler Supervisory: Gate valves, water-level switches, temperature

switches, carbon monoxide detectors, residential fire alarm control units, etc.

WF - Waterflow alarm: Waterflow switches

DAC - Digital Alarm Communicator

OT - Other Transmission Technologies

L - Local System Type

March - March Time

NC - Noncoded

AUX - Auxiliary System Type

C - Coded

Rev Pol - Reverse Polarity

P (PPU) - Proporiety System Type (Protected Premises Unit)

LS - Local System Type with Shunt Type Connection to Master Box

RS - Remote Station System Type

CS - Central Station System Type

(1) - Complementary Listed to FSZI and QVAX.

(3) - Complementary Listed to UOXX.

(a) - (1) Coded (C) type Signaling of RS(PPU) Type (2) Digital Alarm

Communicator (DAC) Type Signaling of CS, RS(PPU) Type (3) Proporiety System

(PPU) Type, all refer to footnote +.

(b) - Noncoded (NC) Type Signaling of Proporiety (PPU) Type, Coded (C) or DAC

Type Signaling, all refer to footnote +.

(c) - Coded (C) or Digital Alarm Communicator (DAC) Type Signaling, see footnote

+.

(d) - Noncoded (NC) Type Signaling of Auxiliary (AUX) System Type or Coded (C)

Type Signaling istsef, refer to footnote +.

(e) - Noncoded (NC) Type Signaling of Auxiliary (AUX) System Type, Coded (C)

Type Singaling or Digital Alarm Communicator (DAC) itself , refer to footnote +.

(f) - (1) Noncoded (NC) or Coded (C) Type Signaling (except when Type is Local

(L) (2) Rev. Pol. Type Signaling, see footnote +.

(g) - Noncoded (NC) Type Signaling of Remote Station (PPU) or Coded (C) Type

Signaling, see footnote +. Noncode Type Signaling of Auxiliary (AUX) Type or

Rev. Pol. Type Signaling Require separately Listed Model 4XTMF transmitter

module.

(h) - When Type is Local (L), refer to footnote (2). Noncoded (NC) Type

Signaling of Remote Station (PPU) Type, Coded (C) or Digital Alarm Communicator

(DAC) Type Signaling, see footnote +. (NC) of Auxiliary (AUX) Type or Rev. Pol.

Type Signaling require separately Listed Model 4XTMF transmitter module.

(i) - Suitable for central station (NFPA71) and remote station (NFPA72C)

signaling application. The Noti-Fire 911AC kit consists of unit Noti-Fire 911A

module.

+ - Must be employed with additional specific Listed device(s) as indicated in

installation instructions and wiring diagrams to provide indicated type

signaling.

Last Updated on 2009-02-19