Patriot Alarm Systems Inc.

292 Bailey Street, Canton MA 02021

UL –S3851-1 	S3855-1		MA LIC # 1172 C	       	FM ID # 3016858

781-821-2325 (VOICE)						781-821-5436 (FAX)

FIRE ALARM OPERATING INSTRUCTIONS

___________________    				 ____________

Customer Name						Account Number

NORMAL: -Only AC Power is illuminated GREEN                          PANEL KEY- Maintained by CFD

# The fire alarm system is active (ON) 24 hours a day. In the event of an emergency the installed automatic detection devices (smoke & heat detectors) will respond in the following manner:

- Activate the Audible and Visual notification devices

- Transmit a digital signal to Patriot Alarm Systems. Indicating type of device and device location

- Display on the controls English Language Annunciator the type of device and location.  Annunciator’ are located at:

#### IN THE EVENT OF A FIRE ALARM ACTIVATION

- Evacuate the protected area immediately. Follow the building evacuation plan.

  - Once outside the building: DO NOT RE-ENTER until authorized by the  ______________ Fire Department    911

- Await the arrival of the   ____________________ Fire Department.

THE FIRE ALARM MAY BE SILENCED ONLY BY THE _______________FIRE DEPARTMENT

Audible devices can only be silenced by unlocking and opening the control panel

PRESS THE AlARM SILENCE  button. The TROUBLE indicator

Will illuminate YELLOW.      To RESET:  Press the  RESET button.

THE FIRE ALARM SYSTEM MAY BE MANUALLY ACTIVATED AT EITHER OF THE RED FIRE PULL STATIONS LOCATED ______________________________________________________________________

##### EMERGENCY TELEPHONE NUMBERS

FIRE DEPT 	     		PATRIOT ALARM CENTRAL STATION

DIAL     911    OR				AND SERVICE  PHONE #

(     ) -     -      		     		               781 – 821 -2325