Patriot Alarm Systems Inc.

292 Bailey Street, Canton MA 02021

UL –S3851-1 	S3855-1		MA LIC # 1172 C	       	FM ID # 3016858

781-821-2325 (VOICE)						781-821-5436 (FAX)

FIRE ALARM OPERATING INSTRUCTIONS

_________________________				 ______________

# Customer Name						Account Number

NORMAL: -Only AC Power is illuminated GREEN                          PANEL KEY- Located in:__________________

All other LED’s are off. LCD display

Will read:  ALL SYSTEMS NORMAL

# The fire alarm system is active (ON) 24 hours a day. In the event of an emergency the installed automatic detection devices (smoke & heat detectors) will respond in the following manner:

- Activate the Audible and Visual notification devices

- Transmit a digital signal to Patriot Alarm Systems. Indicating type of device and device location

- Display on the controls English Language Annunciator the type of device and location.  Annunciator’ are located at:

#### IN THE EVENT OF A FIRE ALARM ACTIVATION

- Evacuate the protected area immediately. Follow the building evacuation plan.

  - Once outside the building: DO NOT RE-ENTER until authorized by the    ______________________________ Fire Department

- Await the arrival of the  _________________ FIRE DEPARTMENT

THE FIRE ALARM MAY BE SILENCED ONLY BY THE    _____________FIRE DEPARTMENT

Audible devices can only be silenced by unlocking and opening the control panel

PRESS THE ACKNOWLEDGEMENT / STEP button. The TROUBLE indicator

Will illuminate YELLOW.

THE FIRE ALARM SYSTEM MAY BE MANUALLY ACTIVATED AT ANY OF THE RED FIRE PULL STATIONS LOCATED ON THE PREMISE

##### EMERGENCY TELEPHONE NUMBERS

_________ FIRE DEPT 	  		PATRIOT ALARM CENTRAL STATION

Emergency Dial 			           FOR FIRE ALARM RESET AND SERVICE

911					             781 – 821 -2325